

City of Reidsville

**2023 Annual Drinking Water Quality Report**

**Water System Number: NC 02-79-020**

We are pleased to present to you this year's Annual Drinking Water Quality Report. This report is a snapshot of the 2023 calendar year’s water quality. Included are details about your source water, what it contains, and how it compares to standards set by regulatory agencies. Our constant goal is to provide you with a safe and dependable supply of drinking water. We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources. We are committed to ensuring the quality of your water and to providing you with this information because informed customers are our best allies.

**Notice of Availability**

 **If you have any questions about this report or concerning your water, please contact Blake Slaughter, Water Treatment Plant Superintendent/ORC at 336-342-4002 email: bslaughter@reidsvillenc.gov. We want our valued customers to be informed about their water utility. View the report on our website at the following direct link:** <https://bit.ly/3Qun3Sd>

**El Informe Anual de Calidad de Agua Potable (Informe de Confianza del Consumidor) del año** **2023 no se distribuirá a cada cliente, pero puede obtener una copia si la pide. Contacte al representante de su compañía de agua, Blake Slaughter al [336-342-4002 email: bslaughter@reidsvillenc.gov para pedir una copia o si es aplicable, puede ver el Informe en nuestra página electrónica en el enlace siguiente:** <https://bit.ly/3Qun3Sd>

**What EPA Wants You to Know**

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The City of Reidsville is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at <http://www.epa.gov/safewater/lead>.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. Contaminants that may be present in source water include microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife; inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses; organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems; and radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

**When You Turn on Your Tap, Consider the Source**

The water that is used by this system is surface water from Lake Reidsville and is located at 278 Reid Lake Road, Reidsville, NC 27320.

## Source Water Assessment Program (SWAP) Results

The North Carolina Department of Environment and Natural Resources (DENR), Public Water Supply (PWS) Section, Source Water Assessment Program (SWAP) conducted assessments for all drinking water sources across North Carolina. The purpose of the assessments was to determine the susceptibility of each drinking water source (well or surface water intake) to Potential Contaminant Sources (PCSs). The results of the assessment are available in SWAP Assessment Reports that include maps, background information and a relative susceptibility rating of Higher, Moderate or Lower.

The relative susceptibility rating of each source for City of Reidsville was determined by combining the contaminant rating (number and location of PCSs within the assessment area) and the inherent vulnerability rating (i.e., characteristics or existing conditions of the well or watershed and its delineated assessment area). The assessment findings are summarized in the table below:

**Susceptibility of Sources to Potential Contaminant Sources (PCSs)**

|  |  |  |
| --- | --- | --- |
| **Source Name** | **Susceptibility Rating** | **SWAP Report Date** |
| Lake Reidsville | Moderate | September 10, 2020 |

The complete SWAP Assessment report for City of Reidsville-Lake Reidsville may be viewed on the Web at: <https://www.ncwater.org/?page=600> Note that because SWAP results and reports are periodically updated by the PWS Section, the results available on this web site may differ from the results that were available at the time this CCR was prepared. If you are unable to access your SWAP report on the web, you may mail a written request for a printed copy to: Source Water Assessment Program – Report Request, 1634 Mail Service Center, Raleigh, NC 27699-1634, or email requests to swap@ncdenr.gov. Please indicate your system name, number, and provide your name, mailing address and phone number. If you have any questions about the SWAP report please contact the Source Water Assessment staff by phone at 919-707-9098.

It is important to understand that a susceptibility rating of “higher” does not imply poor water quality, only the system’s potential to become contaminated by PCSs in the assessment area.

**Help Protect Your Source Water-Lake Reidsville & Lake Hunt**

Protection of drinking water is everyone’s responsibility. You can help protect your community’s drinking water sources in several ways: (examples: dispose of chemicals properly; take used motor oil to a recycling center, using recycling services to keep our creeks and streams free of wastes and volunteer in your community to participate in group efforts to protect your water source). Farmers can also utilize cover crops to prevent year-round erosion and soil runoff. Source water protection is a community effort.

**Violations that Your Water System Received for the Report Year**

During 2023 we received an inadequate DBP precursor removal that covered the time period of 1-01-2023 to 3-31-2023.

**Treatment Technique Violations**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| TT Violation | Explanation | Length of Violation | Steps Taken to Correct the Violation | Health Effects Language |
| Inadequate DBP precursor removal | Our system did not meet the treatment technique requirement at our water treatment plant for the reduction of DBP precursors [Total Organic Carbon (TOC)] to appropriate levels for our particular system. Although this situation was not an emergency and did not require that you take immediate action, as our customers, you have a right to know what happened, and what we are doing to correct this situation.What happened?The City of Reidsville Water Treatment Plant collects daily lab samples for TOC (Total Organic Carbon) to be completed in our lab. During this time period, it was shown that the requirements were met. Although when the sample was sent to the lab to be tested for regulatory purposes, it did not meet state requirements. | 01-01-2023 to 03-31-2023 | The City of Reidsville Water Treatment Plant is currently runs our own TOC samples and submits the results to the state to eliminate any testing discrepancies. For the entire year of 2023 the Water Treatment Plant was in compliance for TOC removal. The reason for this NOV was because of a low average ratio from 2022. The City of Reidsville Water Treatment Plant received approval on 2/13/2023 from the State to use a newly built powdered activated carbon (PAC) treatment system added to the water treatment process. Powered activated carbon (PAC) assists in total organic carbon (TOC) removal and helps the City of Reidsville Water Treatment Plant meet the states requirements. | Total Organic Carbon (TOC) has no health effects. However, total organic carbon provides a medium for the formation of disinfection byproducts. These byproducts include trihalomethanes (THMs) and haloacetic acids (HAAs). Drinking water containing these byproducts in excess of the MCL may lead to adverse health effects, liver or kidney problems, or nervous system effects, and may lead to an increased risk of getting cancer. |

**Important Drinking Water Definitions:**

***Not-Applicable (N/A****)* – Information not applicable/not required for that particular water system or for that particular rule.

***Non-Detects (ND)*** - Laboratory analysis indicates that the contaminant is not present at the level of detection set for the particular methodology used.

***Parts per million (ppm) or Milligrams per liter (mg/L)*** - One part per million corresponds to one minute in two years or a single penny in $10,000.

***Parts per billion (ppb) or Micrograms per liter (ug/L)*** - One part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

***Parts per trillion (ppt) or Nanograms per liter (nanograms/L)*** - One part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

***Parts per quadrillion (ppq) or Picograms per liter (picograms/L)*** - One part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

***Picocuries per liter (pCi/L)*** - Picocuries per liter is a measure of the radioactivity in water.

***Million Fibers per Liter (MFL)*** - Million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

***Nephelometric Turbidity Unit (NTU)*** - Nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

***Variances and Exceptions*** - State or EPA permission not to meet an MCL or Treatment Technique under certain conditions.

***Action Level* *(AL)*** *-* The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

***Treatment Technique (TT****)* **-** A required process intended to reduce the level of a contaminant in drinking water.

***Maximum Residual Disinfection Level (MRDL)*** – The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

***Maximum Residual Disinfection Level Goal* *(MRDLG)*** – The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

***Locational Running Annual Average (LRAA)*** – The average of sample analytical results for samples taken at a particular monitoring location during the previous four calendar quarters under the Stage 2 Disinfectants and Disinfection Byproducts Rule.

***Maximum Contaminant Level (MCL)*** - The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

***Maximum Contaminant Level Goal* *(MCLG)*** - The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

***Level 1 Assessment -*** *A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.*

***Level 2 Assessment -*** *A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.*

**Water Quality Data Tables of Detected Contaminants**

We routinely monitor for over 150 contaminants in your drinking water according to Federal and State laws. The tables below list all the drinking water contaminants that we detected in the last round of sampling for each particular contaminant group. The presence of contaminants does not necessarily indicate that water poses a health risk. **Unless otherwise noted, the data presented in this table is from testing done January 1 through December 31, 2023.** The EPA and the State allow us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. Some of the data, though representative of the water quality, is more than one year old.

**Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulations are warranted.**

**Turbidity\***

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Treatment Technique (TT) Violation Y/N | Your Water | MCLG | Treatment Technique (TT) Violation if:  | Likely Source of Contamination |
| Turbidity (NTU) - Highest single turbidity measurement | N |  0.177 NTU | N/A | Turbidity > 1 NTU | Soil runoff |
| Turbidity (NTU) - Lowest monthly percentage (%) of samples meeting turbidity limits | N | 100% | N/A | Less than 95% of monthly turbidity measurements are < 0.3 NTU |

 **\*** Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system. The turbidity rule requires that 95% or more of the monthly samples must be less than or equal to 0.3 NTU.

**Inorganic Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Antimony (ppb) | 1-10-24 | N | ND | N/A | 6 | 6 | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder |
| Arsenic (ppb) | 1-10-24 | N | ND | N/A | 0 | 10 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| Barium (ppm) | 1-10-24 | N | ND | N/A | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Beryllium (ppb) | 1-10-24 | N | ND | N/A | 4 | 4 | Discharge from metal refineries and coal-burning factories; discharge from electrical, aerospace, and defense industries |
| Cadmium (ppb) | 1-10-24 | N | ND | N/A | 5 | 5 | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints |
| Chromium (ppb) | 1-10-24 | N | ND | N/A | 100 | 100 | Discharge from steel and pulp mills; erosion of natural deposits |
| Cyanide (ppb) | 1-10-24 | N | ND | N/A | 200 | 200 | Discharge from steel/metal factories; discharge from plastic and fertilizer factories |
| Fluoride (ppm) | 1-10-24 | N | 0.46 | N/A | 4 | 4 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Mercury (inorganic) (ppb) | 1-10-24 | N | ND | N/A | 2 | 2 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| Selenium (ppb) | 1-10-24 | N | ND | N/A | 50 | 50 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| Thallium (ppb) | 1-10-24 | N | ND | N/A | 0.5 | 2 | Leaching from ore-processing sites; discharge from electronics, glass, and drug factories |

**Nitrate/Nitrite Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Nitrate (as Nitrogen) (ppm) | 1-10-24 | N | ND | N/A | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Nitrite (as Nitrogen) (ppm) | 1-10-24 | N | ND | N/A | 1 | 1 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |

**Asbestos Contaminant**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Total Asbestos (MFL) | 11-02-22 | N | ND | N/A | 7 | 7 | Decay of asbestos cement water mains; erosion of natural deposits |

**Synthetic Organic Chemical (SOC) Contaminants Including Pesticides and Herbicides**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| 2,4-D (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 70 | 70 | Runoff from herbicide used on row crops |
| 2,4,5-TP (Silvex) (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 50 | 50 | Residue of banned herbicide |
| Alachlor (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 2 | Runoff from herbicide used on row crops |
| Atrazine (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 3 | 3 | Runoff from herbicide used on row crops |
| Benzo(a)pyrene (PAH) (ppt) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 200 | Leaching from linings of water storage tanks and distribution lines |
| Carbofuran (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 40 | 40 | Leaching of soil fumigant used on rice and alfalfa |
| Chlordane (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A  | 0 | 2 | Residue of banned termiticide |
| Dalapon (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 200 | 200 | Runoff from herbicide used on rights of way |
| Di(2-ethylhexyl) adipate (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 400 | 400 | Discharge from chemical factories |
| Di(2-ethylhexyl) phthalate (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 6 | Discharge from rubber and chemical factories |
| DBCP [Dibromochloropropane] (ppt) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 200 | Runoff/leaching from soil fumigant used on soybeans, cotton, pineapples, and orchards |
| Dinoseb (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 7 | 7 | Runoff from herbicide used on soybeans and vegetables |
| Endrin (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 2 | 2 | Residue of banned insecticide |
| EDB [Ethylene dibromide] (ppt) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 50 | Discharge from petroleum refineries |
| Heptachlor (ppt) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 400 | Residue of banned pesticide |
| Heptachlor epoxide (ppt) | 4-5-237-12-239-6-23 | N |  ND | N/A | 0 | 200 | Breakdown of heptachlor |
| Hexachlorobenzene (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 1 | Discharge from metal refineries and agricultural chemical factories |
| Hexachlorocyclo-pentadiene (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 50 | 50 | Discharge from chemical factories |
| Lindane (ppt) or BHC-Gamma | 4-5-237-12-239-6-23 | N | ND | N/A | 200 | 200 | Runoff/leaching from insecticide used on cattle, lumber, gardens |
| Methoxychlor (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 40 | 40 | Runoff/leaching from insecticide used on fruits, vegetables, alfalfa, livestock |
| Oxamyl [Vydate] (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 200 | 200 | Runoff/leaching from insecticide used on apples, potatoes and tomatoes |
| PCBs [Polychlorinated biphenyls] (ppt) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 500 | Runoff from landfills; discharge of waste chemicals |
| Pentachlorophenol (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 1 | Discharge from wood preserving factories |
| Picloram (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 500 | 500 | Herbicide runoff |
| Simazine (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 4 | 4 | Herbicide runoff |
| Toxaphene (ppb) | 4-5-237-12-239-6-23 | N | ND | N/A | 0 | 3 | Runoff/leaching from insecticide used on cotton and cattle |

**Volatile Organic Chemical (VOC) Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Benzene (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from factories; leaching from gas storage tanks and landfills |
| Carbon tetrachloride (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from chemical plants and other industrial activities |
| Chlorobenzene (ppb) | 1-10-24 | N | ND | N/A | 100 | 100 | Discharge from chemical and agricultural chemical factories |
| o-Dichlorobenzene (ppb) | 1-10-24 | N | ND | N/A | 600 | 600 | Discharge from industrial chemical factories |
| p-Dichlorobenzene (ppb) | 1-10-24 | N | ND | N/A | 75 | 75 | Discharge from industrial chemical factories |
| 1,2 – Dichloroethane (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from industrial chemical factories |
| 1,1 – Dichloroethylene (ppb) | 1-10-24 | N | ND | N/A | 7 | 7 | Discharge from industrial chemical factories |
| cis-1,2-Dichloroethylene (ppb) | 1-10-24 | N | ND | N/A | 70 | 70 | Discharge from industrial chemicalfactories |
| trans-1,2-Dichloroethylene (ppb) | 1-10-24 | N | ND | N/A | 100 | 100 | Discharge from industrial chemical factories |
| Dichloromethane (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from pharmaceutical and chemical factories |
| 1,2-Dichloropropane (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from industrial chemical factories |
| Ethylbenzene (ppb) | 1-10-24 | N | ND | N/A | 700 | 700 | Discharge from petroleum refineries |
| Styrene (ppb) | 1-10-24 | N | ND | N/A | 100 | 100 | Discharge from rubber and plastic factories; leaching from landfills |
| Tetrachloroethylene (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from factories and dry cleaners |
| 1,2,4 –Trichlorobenzene (ppb) | 1-10-24 | N | ND | N/A | 70 | 70 | Discharge from textile-finishing factories |
| 1,1,1 – Trichloroethane (ppb) | 1-10-24 | N | ND | N/A | 200 | 200 | Discharge from metal degreasing sites and other factories |
| 1,1,2 –Trichloroethane (ppb) | 1-10-24 | N | ND | N/A | 3 | 5 | Discharge from industrial chemical factories |
| Trichloroethylene (ppb) | 1-10-24 | N | ND | N/A | 0 | 5 | Discharge from metal degreasing sites and other factories |
| Toluene (ppm) | 1-10-24 | N | ND | N/A | 1 | 1 | Discharge from petroleum factories |
| Vinyl Chloride (ppb) | 1-10-24 | N | ND | N/A | 0 | 2 | Leaching from PVC piping; discharge from plastics factories |
| Xylenes (Total) (ppm) | 1-10-24 | N | ND | N/A | 10 | 10 | Discharge from petroleum factories; discharge from chemical factories |

**Lead and Copper Contaminants**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater | Number of sites found above the AL | MCLG | AL | Likely Source of Contamination |
| Copper (ppm)(90th percentile) | 6-22-21thru9-9-21 | 0.118 | 0 | 1.3 | AL=1.3 | Corrosion of household plumbing systems; erosion of natural deposits  |
| Lead (ppb)(90th percentile) | 6-22-21thru9-9-21 | ND | 0 | 0 | AL=15 | Corrosion of household plumbing systems; erosion of natural deposits |

**Radiological Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Alpha emitters (pCi/L) | 1/18/17 | N | ND | N/A | 0 | 15 | Erosion of natural deposits |
| Beta/photon emitters (pCi/L) | 1/18/17 | N | ND | N/A | 0 | 50 \* | Decay of natural and man-made deposits |
| Combined radium (pCi/L) | 1/18/17 | N | ND | N/A | 0 | 5 | Erosion of natural deposits |
| Uranium (pCi/L) | 1/18/17 | N | ND | N/A | 0 | 20.1 | Erosion of natural deposits |

\* Note: The MCL for beta/photon emitters is 4 mrem/year. EPA considers 50 pCi/L to be the level of concern for beta particles.

**Total Organic Carbon (TOC)**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | TT Violation Y/N | Your Water(RAA Removal Ratio) | Range Monthly Removal RatioLow - High | MCLG | Treatment Technique (TT) violation if: | Likely Source of Contamination | Compliance Method(Step 1 or ACC#\_\_) |
| Total Organic Carbon (removal ratio)(TOC)-TREATED | Y | 1.18 | .83-1.61 | N/A | Removal Ratio RAA <1.00 & alternative compliance criteria were not met. | Naturally present in the environment | Step 1 |

 **Disinfectant Residuals Summary**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  Disinfection | Year Sampled | MRDL ViolationY/N | YourWater(highest RAA) | RangeLow High | MRDLG | MRDL | Likely Source of Contamination |
| Chloramines (ppm) | 2023 | N | 2.35 | 1.06 3.25 | 4.0 | 4.0 | Water additive used to control microbes |
| Chlorine (ppm) | 2023 | N | 1.92 |  1.06 2.80 | 4.0 | 4.0 | Water additive used to control microbes |

**Stage 2 Disinfection Byproduct Compliance -** Based upon Locational Running Annual Average (LRAA)

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Disinfection Byproduct (ppb)\* | Year Sampled | MCL ViolationY/N | YourWater(highest LRAA) | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| TTHM (ppb)Code 2950 |  |  |  |  | N/A |  80 | Byproduct of drinking water disinfection |
| B01 | 2023 | N | 35 |  22 42 | N/A | 80 |  |
| B02 | 2023 | N | 36 |  22 43 | N/A | 80 |  |
| B03 | 2023 | N | 40 |  23 54 | N/A | 80 |  |
| B04 | 2023 | N | 37 |  21 49 | N/A | 80 |  |
| HAA5 (ppb)Code 2456 |  |  |  |  | N/A |  60 | Byproduct of drinking water disinfection |
| B01 | 2023 | N | 22 |  13 38  | N/A | 60 |  |
| B02 | 2023 | N | 23 |  13 33  | N/A | 60 |  |
| B03 | 2023 | N | 22 |  14 25  | N/A | 60 |  |
| B04 | 2023 | N | 29 |  15 43 | N/A | 60 |  |

The PWS Section requires monitoring for other misc. contaminants, some for which the EPA has set national secondary drinking water standards (SMCLs) because they may cause cosmetic effects or aesthetic effects (such as taste, odor, and/or color) in drinking water. The contaminants with SMCLs normally do not have any health effects and normally do not affect the safety of your water**.**

**Other Miscellaneous Water Characteristics Contaminants**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater | RangeLow High  | SMCL |
| Iron (ppm) | 1-10-24 | ND | N/A | 0.3 mg/L |
| Manganese (ppm) | 1-10-24 | ND | N/A | 0.05 mg/L |
| Nickel (ppm) | 1-10-24 | ND | N/A | N/A |
| Sodium (ppm) | 1-10-24 | 10.787 | N/A | N/A |
| Sulfate (ppm) | 1-10-24 | 20.8 | N/A | 250 mg/L |
| pH | 1-10-24 | 6.9 | N/A | 6.5 to 8.5 |

**Unregulated Contaminants**

EPA uses the Unregulated Contaminant Monitoring Rule (UCMR) program to collect nationally representative data for contaminants suspected to be present in drinking water, but that do not have regulatory standards. UCMR 4 requires monitoring for 30 chemicals between 2018 and 2021. This monitoring is used by EPA to understand the frequency and level of occurrence of unregulated contaminants in the nation’s public water systems (PWSs). Every five years EPA develops a new list of UCMR contaminants, largely based on the Contaminant Candidate List (CCL). The Safe Drinking Water Act (SDWA) requires EPA to:

• Manage monitoring for no more than 30 contaminants per 5-year cycle

• Collect data from large PWSs (i.e., those that serve more than 10,000 people)

• Collect data from a representative sample of small PWSs (i.e., those serving less than or equal to 10,000 people)

• Store analytical results in a National Contaminant Occurrence Database (NCOD)

State and local officials may also use UCMR data to assess the need for actions to protect public health. When evaluating UCMR data, State and local officials should consider the following limitations:

• UCMR monitoring generates a robust national data set that is representative of occurrence at a national level; it is not designed to be representative of occurrence at a State or local level.

• UCMR results are not available immediately after sample collection. EPA’s regulations allow PWSs and the laboratories that support their monitoring up to six months to report results to EPA.

• There is limited information about health effects and treatment techniques to address a number of these unregulated contaminants.

**Unregulated Inorganic Contaminants**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater(average) | RangeLow High | Sample Date | YourWater(average) | RangeLow High |
| Manganese (ppb)  | 11-20-18 | 27.4 | N/A | 2-28-19 | 4.14 | N/A |
| Bromide (ppb) Raw Water | 11-20-18 | ND | N/A | 2-28-19 | ND | N/A |
| Total Organic Carbon (ppb) Raw Water | 11-20-18 | 6320 | N/A | 2-28-19 | 3830 | N/A |
| Bromochloroacetic Acid (ppb) | 11-20-18 | 1.85 | 1.69 1.98 | 2-28-19 | 1.78 | 1.66 1.91 |
| Bromodichloroacetic Acid (ppb) | 11-20-18 | 1.38 | 1.26 1.49 | 2-28-19 | 1.13 | 0.978 1.24 |
| Chlorodibromoacetic Acid (ppb) | 11-20-18 | ND | N/A | 2-28-19 | ND | N/A |  |
| Dibromoacetic Acid (ppb) | 11-20-18 | ND | N/A | 2-28-19 | ND | N/A |
| Dichlorooacetic Acid (ppb) | 11-20-18 | 22.0 | 19.1 24.9  | 2-28-19 | 12.8 | 12.0 14.0 |
| Monobromoacetic Acid (ppb) | 11-20-18 | ND | N/A | 2-28-19 | ND | N/A |
| Monochlorooacetic Acid(ppb)  | 11-20-18 | ND | N/A | 2-28-19 | ND | N/A |
| Tribromoacetic Acid (ppb) | 11-20-18 | ND | N/A | 2-28-19 | ND | N/A |
| Trichlorooacetic Acid (ppb) | 11-20-18 | 14.0 | 13.0 14.7  | 2-28-19 | 9.41 | 8.94 9.80 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater(average) | RangeLow High | Sample Date | YourWater(average) | RangeLow High |
| Manganese (ppb) Raw Water | 5-28-19 | 4.98 | N/A | 8-14-19 | 3.24 | N/A |
| Bromide (ppb) Raw Water | 5-28-19 | 20.8 | N/A  | 8-14-19 | 21.4 | N/A  |
| Total Organic Carbon (ppb) Raw Water | 5-28-19 | 3280 | N/A | 8-14-19 | 3950 | N/A |
| Bromochloroacetic Acid (ppb) | 5-28-19 | 2.54 | 2.51 2.56 | 8-14-19 | 2.78 | 2.48 3.11 |
| Bromodichloroacetic Acid (ppb) | 5-28-19 | 2.41 | 2.03 2.69 | 8-14-19 | 1.60 | 1.30 2.10 |
| Chlorodibromoacetic Acid (ppb) | 5-28-19 | 0.316 | 0.314 0.317 | 8-14-19 | ND | N/A |
| Dibromoacetic Acid (ppb) | 5-28-19 | ND | N/A | 8-14-19 | ND | N/A |
| Dichlorooacetic Acid (ppb) | 5-28-19 | 17.3 | 17.2 17.3 | 8-14-19 | 22.1 | 20.5 24.6 |
| Monobromoacetic Acid (ppb) | 5-28-19 | ND | N/A | 8-14-19 | ND | N/A |
| Monochlorooacetic Acid(ppb)  | 5-28-19 | 2.95 | 2.95 2.95  | 8-14-19 | 2.92 | 2.53 3.23  |
| Tribromoacetic Acid (ppb) | 5-28-19 | ND | N/A | 8-14-19 | ND | N/A |
| Trichlorooacetic Acid (ppb) | 5-28-19 | 11.65 | 9.41 12.9 | 8-14-19 | 9.11 | 5.49 13.1 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater(average) | RangeLow High | Sample Date | YourWater(average) | RangeLow High |
| Anatoxin-a | 8-14-198-27-199-25-1910-9-1910-24-19 | ND | N/A | N/A | N/A | N/A |
| Cylindrospermopsin | 8-14-198-27-199-25-1910-9-1910-24-19 | ND | N/A  | N/A  | N/A  | N/A  |
| Total Microcystins & Nodularins | 8-14-198-27-199-25-1910-9-1910-24-19 | ND | N/A | N/A | N/A | N/A |
| Alpha-Hexachlorocylcohexane | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Chlorpyrifos | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Dimethipin | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Ethoprop | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Oxyfluorfen | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Profenofos | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Tebuconazole  | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Permethrin, cis & trans | 10-9-19 | ND | N/A | N/A | N/A | N/A |
| Tribufos | 10-9-19 | ND | N/A | N/A | N/A | N/A |

***Clean, Safe Drinking Water-Your Life Depends On It!***

***\*There are over 3 trillion water molecules in one human red blood cell\****

